# PowerGuard IoT - Context Level Data Flow Diagram (DFD)

|  | Admin User (Flutter App) |  |  |  | PZEM Meters (Hardware) |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | OFF Commands ↘ |  | ↙ Metrics Data |  |  |
|  | Relay Modules | Trip Signal ← | PowerGuard Management System | → GPIO Pulse | ESP32 Firmware |  |
|  |  | Sync Logs ↗ |  | ↖ Status Updates |  |  |
|  | Supabase DB (Cloud) |  |  |  | Site Load (Protected Devices) |  |

## Data Flow Definitions:

1. OFF Commands: Sent from Admin App via user interaction or schedule.

2. Metrics Data: Real-time Voltage, Current, and Power readings from meters.

3. Trip Signal: Momentary pulse sent to relay to disconnect the breaker.

4. Sync Logs: Persistent storage of all overcurrent and manual trip events.